## Sheet1
Requested Action: | Dept. | Status | Priority | Notes
Golf Cart Shed | Tech Services | Addition |  | Need to store 3 golf carts
Add'l Perm Instructional Room | ASL | Addition |  | Need to dedicate one other room with tech
Table Saw & Band Saw safety device | ART | Renovation | 1 | Need safety devices for Saws for students
Shade house structurally unsound | AG | Renovation | 2 | Shade house is old and unsound - need new
Rennovation of Space for DSPS | DELANO | Renovation | 3 | Need adequate space for DSPS
Gym 10: Water Damage-Lockeroom | Health & PE | Renovation | 4 | Dilapitated and water damaged
MS 54 Carpet & paint | Rad Tech | Renovation | 5 | Carpet is torn/taped unsafe. Room painted
Rennovation of faculty offices | BMIT | Renovation | 6 | Offices were not included summer 2013
Carpet in Library | Library | Renovation | 7 | Need to udpate original carpet in library
Replace Carpet & Paint Allied Hlth | Rad Tech | Renovation | 8 | Building built 1995 - needs update
Carpet in Humanities | English | Renovation | 9 | Need updated carpet - current is threadbare
MS 19 Rennovation of office walls | Math | Renovation | 10 | Need to udpate wall space for offices
OSHA App. Collection System | ART | Renovation | 11 | Approved dust/particulate collection system
Install drains for emergency shower | Physical Science | Renovation | 12 | Install drains under showers prevent flood
Classroom 156 paint & carpet | Nursing | Renovation | 13 | Update to classroom space
Carpet & Paint Allied Health Office | Nursing | Renovation | 14 | Update carpet & paint in Allied Health office
FACE 23: Replacement of Furniture | FACE | Replacement |  | Face 23 desks/chairs need to be replaced
Furniture for AG Building | AG | Replacement |  | Update existing furniture to suit students
Replace Desks/Chairs SE Lecture | Biology | Replacement |  | SE 48, 51, 53, 56 replace all furniture
Adjust, Rennovate heating &cool | BMIT | In Progress |  | Business Building Heating & Cooling
Rennovation of Bathrooms | BMIT | In Progress |  | Bathroom facilities need rennovating
HVAC Vents need cleaning | ACDV | In Progress |  | Learning Ctr. Classrooms SS 3 & 3a
Inconsistant Temps in Learning Ctr | ACDV | In Progress |  | Classrooms as well
Repair & Paint walls ceilings | Biology | In Progress |  | SE 32 to start - Biology Area
Signage for SE & MS Buildings | Biology | In Progress |  | Office, Lab and Classroom Signage
Re-Wiring of SE/MS Lecture Halls | Biology | In Progress |  | Projector without turning all lights off
Lang Arts need telephones | EMS | In Progress |  | Need telephones in all rooms
Door Stops need replacment in LA | EMS | In Progress |  | Existing door stops are broken
Library Restroom maintenance | Library | In Progress |  | Need to fix existing problems in restrooms
Temperature in FA 51/offices | Communication | In Progress |  | Temps are too hot/cold and need help
Tint or screen north face windows | ACDV | In Progress |  | SS 3a Classroom
Showcase Install in Locker Room | ART | Workorder |  | Need to install showcases in the locker room
Need replacement air compressor | ART | Workorder |  | Non-Functioning Air Compressor -need new
Replace Projection Screens | ART | Workorder |  | Replace screens in FA 28, 23, 20
LA 112 Office needs window blinds | Math | Workorder |  | 69x47 window blinds
Delano 1103 Seamless whiteboard | Math | Workorder |  | Wants a seamless whiteboard
IT 8 & 9 Need add'l 220v Receptacle | EIT | Workorder |  | Rennovation of Space
Kiln in need of repair | ART | Workorder |  | 2 Kilns need repair
Fine Arts 20 Ceramics Lab Maint | ART | Workorder |  | Maintenance & repainting
Fine Arts 23 Updates/Maint | ART | Workorder |  | Repainting and Drains
Replace burned out lamps | ACDV | Workorder |  | Learning Ctr. Classrooms SS 3 & 3a
Clean & replace light covers | ACDV | Workorder |  | Learning Ctr. Classrooms SS 3 & 3a
Replace Ceiling Tiles SS 204 | ACDV | Workorder |  | Stained and missing ceiling tiles
South Door rubber stopper | ACDV | Workorder |  | Exit door needs rubber stopper
Fix Lights and door in MS 107A | Math | Workorder |  | Many lights out and door does not shut
MS 105 - Door does not lock properly | Math | Workorder |  | The door does not look properly
LA 107B - Light switch to dim for tech | Math | Workorder |  | Need first row of lights to dim for technology
LA 104 Shelves need to be rehung | Math | Workorder |  | Need to rehang shelving
Bad Ballasts in MS 107D - Replace | Math | Workorder |  | Need to be replaced
MS 107 Needs handicapped access | Math | Workorder |  | Needs the buttons hooked up
MS 21 Finish Paint | Rad Tech | Workorder |  | Some of the lab still has just primer…
Clean West Face second door | ACDV | Completed |  | Outer screen needs cleaning
Replacement of exterior doors | ACDV | Completed |  | All doors leading to the learning center
Scheduled powerwash/clean | Library | Completed |  | Need to get on scheduled maint. Of building
High Pitched Sound - light sensor? | Rad Tech | Completed |  | MS 54 - X Ray lab - stop the high pitched sound
MS bldg. Steps to AH wing danger | Rad Tech | Completed |  | Need to repair steps leading the AH office
MS 21 Replace Verticle Blinds | Rad Tech | Completed |  | Blinds have needed repair for over 5 years.
MS Elevator Repair/Landing | Rad Tech | Completed |  | threshold of MS elevator requires repair