## Sheet1
| PROGRAM REVIEW | RESOURCE REQUESTS 2022-2023
| RENOVATION: | Request: | ACTION: |  | Prioritization Points:
| Performing Arts/Art | Update/Replace Indoor elevators | Parts on way |  | RENOVATION:
1 | Performing Arts/Art | Fine Arts 30 - Renovate Lights |  |  | 4 points for top 7 Renovation Requests
| Performing Arts/Art | Fine Arts 30 - Renovate HVAC | Work Order |  | 2 points for next 7 Renovation Requests
2 | Performing Arts/Art | Wants Soundproofing in PAC |  |  | 1 points for next 7 Renovation Requests
3 | Performing Arts/Art | Floor Drain Traps/Ventilation FA20
4 | Performing Arts/Art | Remodel FA 1 or 8 for Studio Space |  |  | FURNITURE:
5 | Performing Arts/Art | Remodel FA 28 Paint/Draw Lab |  |  | 4 points for top 7 Furniture Requests
6 | Performing Arts/Art | Remodel FA 23 Sculpture Lab |  |  | 2 points for next 7 Furniture Requests
7 | Performing Arts/Art | Remodel FA 9/10 Storage Space |  |  | 1 point for bottom 7 Furniture Requests
8 | Performing Arts/Art | Remodel FA 23 Storage Space
9 | Philosophy/English | Replace carpet in H-40-H-50
| Athletics | New Pool Deck | On Sched Maint
10 | Athletics | Privacy Screen at Pool
11 | Athletics | Shade Structure at Pool
12 | Athletics | New deck plates for pool/timing system
13 | Athletics | Backboard for Tennis Courts
| Business Admin | Renovate Cubicles in Faculty Offices | On Sched Maint | Paint & Carpet
14 | Chemistry | Renovate GS 17, 19, 25, 26, 27, 28
15 | Child Development | New Building for FACE classrooms
16 | Economics/History | re-wire lighting in classrooms H-15-->19
17 | Electronics | Lighting/HVAC need replacement in IT7A
18 | Culinary Arts | Renovation of FACE 23 - Demo Kitchen
19 | Culinary Arts | Restroom Upgrade FACE 30 area
20 | Culinary Arts | Floor Leveling Renegade Room Kitch/Dine
| HVAC | Additional Training Space Expansion | Complete
| Mechinized Agriculture | GS 45 is in need of repair/functionality | Complete
21 | Rad Tech Program | Renovate MS 21 - Remodel Darkroom & Lab
| FURNITURE: | Request: | ACTION:
| Performing Arts/Art | Critique Boards installed in FA 8 | COMPLETE
1 | Performing Arts/Art | Student Instrument lockers downstairs PAC
2 | Performing Arts/Art | Chairs for FA9 and FA10
3 | Performing Arts/Art | Shades for PAC Indoor Theater Lobby
4 | Performing Arts/Art | Seating outdoors/FA 30 Lobby area
5 | Performing Arts/Art | Fine Arts Trophy Case
6 | Library | Seating needs to be updated
7 | Library | Display cases
8 | Library | 2nd Floor Reference Desk Replacement
| Academic Technology | Library 160 Computer Chairs Replacement | COMPLETE
9 | Apprenticeship | Office Furniture for 7 Staff
10 | Athletics | Tennis Court Benches for Spectators
11 | Physical Education | New Drapes for Gym 202
12 | Athletics | Soccer Field Team Benches (4 total)
13 | Athletics | Outdoor lockers on Pool Deck
| Chemistry | 4-5 New Fume Hoods | COMPLETE
14 | Electronics Tech | Needs 30 chairs for IT7a
15 | Electronics Tech | Wants smaller workstations for IT7a
16 | Culinary Arts | Steam Table/Storage Shelves/Patio Seat
17 | Forestry | Wants 2 ergonomic office chairs
18 | Geology | Wants display case 30-45ft.
19 | Mathematics | LA 107B Chairs and Tables with wheels
20 | Mechanized Agriculture | Needs shelving for swing space storage
21 | Rad Tech Program | Faculty Office Chairs
| SPACE ALLOCATION: | Request:
| Performing Arts/Art | Wants Storage Units outdoors - PAC
| Performing Arts/Art | Relocate the downstairs practice rooms
| Performing Arts/Art | Wants Classroom Space for Piano Lab
| Performing Arts/Art | Marching Arts Practice & Storage Space
| Performing Arts/Art | Parking for Marching Arts trailers
| Apprenticeship | Office Space for 7 Staff
| Business Administration | Wants to use B-13 as their conference space
| Econimics/History/Social | Wants classroom space BCSW & Delano
| EMLS | Need Language Arts office space
| EOPS | Needs office Space for 5 employees
| HVAC Program | Need additional lab space
| Mathematics | Classroom Space/Learning Lab moved closer
| Mech AG | Instructional Space needed GS 45 remodel?
| Student Government | Expanded spaces for Basic Needs Program
| Registered Nursing | Requesting More Staff office space